**Identifiers/Serial Numbers - NCSBI Drug Chemistry Section Instruments - Raleigh, NC (Updated 6-17-09)**

**PERKIN-ELMER ONE SOURCE 1-800-762-4072 - Have serial number ready to initiate service call**

**1-800-762-4000 for voicemail messages: Randy Loyd Ext. 3019# Jamie Lohr Ext. 3108#**

**GAS CHROMATOGRAPH/MASS SPECTROMETERS**

**Identifier (Former name)** **Serial No.** **Model**  **DOJ #** **Locat’n**

**GCMS1** (“JW”) **US62714527** (New 11-22-06) 5975B MS (Diffusion) 601077 4320

 US10634049 6890N GC

 CN64136125 7683B Injector

 CN64141356 G2614A Autosampler

**GCMS2\*** (“Sully”) **US10360136** (New 2-13-01) 5973N MS (Turbo) 209560 4320

 US00040543 6890A GC

 US10317261 7683 Injector

 US10210407 G2614A Autosampler

**GCMS3** (“Ike”) **US03960641** (New 2-15-01) 5973N MS (Turbo) 209561 4090

 US00040544 6890 GC

 US10317270 7683 Injector

 US10310501 G2614A Autosampler

**GCMS4** (“Mike”) **US21863672** (New 9-26-02**)** 5973N MS (Turbo) 209832 4090

 US10232128 6890 GC

 US10317270 7683 Injector

 US90904511 G2614AN279 Autosampler

**GCMS5** (“Fred”) **US62714525** (New 11-22-06) 5975B MS (Diffusion) 601076 4090

 US10643079 (Drugs 6-19-07) 6890N GC

 CN64136105 7683B Injector

 CN64141396 G2674A Autosampler

**INFRARED SPECTROPHTOMETERS (See Back Page for Installation Dates)**

**Identifier** **IR S/N ATR S/N Model DOJ # Location**

**FTIR6\*** 77518 PODL07011820 Spectrum 100 ATR 4330 A-B (New Wing)

**FTIR13** 79564 PODL0712208 Spectrum 100 ATR 4330 A-B (New Wing)

**FTIR15\*** 79587 PODL08010413 Spectrum 100 ATR 4330 A-B (New Wing)

**FTIR1\*** 68712 PODL07011830 Spectrum One ATR 209801 4330 A-B (Raysich)

**FTIR12\*** 79023 PODL07101723 Spectrum 100 ATR 4330 A-B (Raysich)

**FTIR2** 77525 PODL07011823 Spectrum 100 ATR 4310 A-B (Allcox)

**FTIR5\*** 68711 PODL07011828 Spectrum One ATR 209812 4310 A-B (Allcox)

**FTIR3\*** 66707 PODL07011824 Spectrum One ATR 209706 4080 A-B (Edwards)

**FTIR10\*** 79034 PODL07101725 Spectrum 100 ATR 4080 A-B (Edwards)

**FTIR4\*** 68710 PODL05052010 Spectrum One ATR 209811 4130 A-B (P. Carroll)

**FTIR11\*** 79065 PODL0710173 Spectrum 100 ATR 4130 A-B (P. Carroll)

**FTIR14\*** 79568 PODL0801046 Spectrum 100 ATR 4170 A-B (Gregory)

**UV SPECTROPHOTOMETERS**

**Identifier Serial Number Model DOJ # Location**

**UV1\*** A10753782520 UV-1601 209085 Room 4330 A-B (Raysich)

**UV2** A11024136148CS (New 4-20-04) UV-1700 209999 Room 4310 A-B (Allcox)

**UV3\*** A10753883183 UV-1601 211357 Room 4280 (“Research Rm”)

 (Out of service 9-24-07 Printer to UV5)

**UV4\*** A10833500524S5 UV-2401PC 306002 Room 4080 A-B (Edwards)

**UV5\*** A10753681100 UV-1601 207780 Room 4130 A-B (P. Carroll)

**UV6\*** A10774435076(New 9-19-07) UV-1650PC New Wing

**HPLC**

**Identifier Serial Number Model DOJ # Location**

**HPLC** DE43661253 (New 6-16-07) 1100 600706 New Wing

 **TOXICOLOGY GC/MS**

**Identifier** **Serial No.** **Model** **DOJ#** **Locat’n**

**New Tox** **US83121440** 5975C MS 4090

 CN10847137 7890A GC

 CN85054593 7683B Injector

 CN84951722 7683 Autosampler

**Left Tox** **US92522705** 5973 MS 209073 4090

 US00029823 6890 GC

 US93108502 7683 Injector

 US92905664 7683 Autosampler

**Right Tox** **US92522695** 5973 MS 209074 4090

 US00029822 6890 GC

 US91506600 7683 Injector

 US92905649 7683 Autosampler

\*Indicates Certificate of Compliance or Validation in Master File

For FTIR data: All polystyrene records in the notebooks date back to September, 2003, except for FTIR7 and the newer Spectrum 100s (FTIRs 9-12). This corresponds to last ASCLD inspection month. Polystyrene data from 2003-2007 for older FTIRs (1,3,4 & 5) were archived to master file in January, 2008 following ASCLD inspection.

Beginning Jan, 2008 all field service reports will be kept in master file. These are e-mailed to ASAC NH Gregory from Perkin-Elmer.

**Serial Numbers Master List Jun09.docx**